FEATURE – Gulf region

Date: July 2020

Combatting infections with copper pipework

Although the road to recovery is likely to be a long one, the construction industry continues to be hugely important to an economic upturn in the Gulf. For HVAC and MEP contractors, operating in these unprecedented times has turned the focus not just on the way we work but also on health and hygiene.

Richard Franks, Gulf Business Unit Director for Conex Bänninger, outlines the advantages of copper as a pipework material and how it can help combat infections such as legionella.

With health and safety, alongside economic renewal, high on the agenda, one solution that has been around for centuries but is growing in importance is the use of copper pipework in installations.

The key reason for this is the metal’s anti-microbial properties.  In many healthcare and medical environments, for example, which require the strictest hygiene performance specifications, copper pipework has been the number one plumbing material of choice for many years.

Copper attacks a wide range of dangerous water-borne bacteria, including Legionella, and helps prevent a multitude of pseudomonas infections such as ‘swimmer’s ear’.

Direct interaction between the surface of the copper and the bacterial outer membrane causes it to rupture. As a result, the bacterium loses vital nutrients, water and dies.

This biocidal effect of copper and copper alloys is recognised by several major scientific bodies.

In 2014, the independent non-profit making ECRI Institute (formerly known as the Emergency Care Research Institute), whose guidance is looked to by more than 5,000 healthcare organisations worldwide, listed anti-microbial copper as ‘one of its Top 10 Technologies to Watch’.

Of course, proper water hygiene continues to be absolutely essential with EN806 taking over from BS6700 as the applicable industry standard covering ‘specifications for installations inside buildings conveying water for human consumption’. This makes copper an essential material to specify at the design stage of a new drinking water system or a refurbishment too.

As a general rule for drinking water, keep cold water cold and hot water hot. Up to 20°C bacteria can survive but are not active. At 60°C and above some 90% of bacteria will be killed within two minutes. The ‘optimal zone’ for bacteria to thrive is between 45°C and 60°C.

With closed sites and buildings opening up again as restrictions ease, it has also highlighted risks around water supply and heating systems that may have been dormant, with the possibility that the mix of high temperatures and stagnant water has created the conditions for legionella.

It is, therefore, essential to ensure proper cleaning and flushing of water systems that have not been operational, and also checking that temperatures on hot water systems are set correctly.

A noble metal

It’s not just the antimicrobial properties of copper that make it an ideal pipework solution.  As a noble metal, copper also resists corrosion and compares favourably to steel and iron.  It is highly resistant to extremes of temperature too, whether those be highs or lows and in the case of a fire (its melting point is 1,085 °C) its non-flammable capabilities mean copper tube and fittings will not burn or give off toxic fumes. Copper also performs well in terms of its linear thermal expansion – or lack of it. Where the temperature rises by 30°C, copper pipework will expand by just 5mm over 10 metres. While marginally bettered by steel (4mm), it matches stainless steel, is better than aluminium (7mm) and comprehensively outperforms PE (Polyethylene) (54mm) and PVC (60mm).

Copper also is a sustainable material of choice as it is 100% recyclable. In fact, some 80% of copper ever mined is still in use today.  And while it takes 100 gigajoules of energy to refine one ton of copper, it takes only 10 gigajoules to reprocess it. So recycling is 90% better when environmental costs are taken into consideration.

To find out more about the benefits of copper pipework as a preferential fitting material, take advantage of Conex Bänninger’s CPD programme.  The programme is designed with specifiers and M & E contractors in mind while stockists, installers and water suppliers will also find it useful.

While focussing on copper, the programme also looks at current legislation and codes of practice, and considers the full range of products and jointing solutions on the market, from solder and braze, to compression, threaded, press and push fit.

Anyone interested in undertaking the CPD course should email cpd@ibpgroup.com. For details of the full range of Conex Bänninger valves and pipe fittings visit www.conexbanninger.com.

-ENDS-

Issued on behalf of Conex Bänninger by HRO’C PR Ltd. For further information please contact:

# Nigel Pipkin or Russell Clarke

HRO’C PR Limited

Tel: 0121 454 9707

# Email: nigel.pipkin@hroc.co.uk